# Purpose

To prepare genomic DNA quickly and with minimal exposure from bacterial isolates.

# Scope

To be done after inoculating and isolating bacterial colonies on agar plates and in preparation of PCR and sequencing.

# Responsibilities

To be performed by credentialed/trained faculty along with students being supervised.

# Definitions

- Chelex Solution: Used for aid in lysis. A 5% working stock may be substituted with Bio-Rad’s Instagene Matrix (#223-9378).

- UV Spectrophotometer (Nanodrop): An instrument that measures the absorbance of UV light by a sample, used to quantify the concentration of DNA in the supernatant.

- Personal Protective Equipment (PPE): Clothing and equipment worn to minimize exposure to hazards that can cause workplace injuries and illnesses, including lab coats, gloves and safety goggles.

# References

InstaGene Matrix manual (732-6030).

# Materials

| Material Description | Standard Quantity | Unit |
| --- | --- | --- |
| Bacterial culture plate | 1 | plate |
| Biosafety cabinet | 1 | N/A |
| Small sterile 0.5 – 10 microliter pipette tip | 1 | N/A |
| Sterile distilled water (SDW) | 1 | bottle |
| UV spectrophotometer (e.g. Nanodrop) | 1 | N/A |
| Safe seal 1.5 mL tubes | 1 | 1.5 mL tube |
| p1000 micro pipette and tip | 1 | N/A |
| Sorvall™ Legend™ Micro 21R Microcentrifuge | 1 | N/A |

# Safety

- Prior to lysis, all steps handling culture plates should be done in biological safety cabinet.

- Lab PPE including lab coat, gloves, and safety goggles should be worn at all times during work. Due to unknown identity of isolate in culture, wearing of mask is recommended in conjunction with use of biological safety cabinet prior to lysis step.

- Handle all biological materials and reagents according to relevant safety guidelines and protocols.

- Ensure proper disposal of all waste materials in accordance with institutional and environmental regulations.

# Procedure

1. Pick an isolated bacterial colony (equal to area of penny or 2 cm2) and resuspend in 1mL SDW.

2. Centrifuge 1 minute at 10,000 – 12,000 rpm on a 8.6 cm radius centrifuge (9.6 g – 13.8 g) and remove supernatant in biohazard waste.

3. Using large bore pipette (e.g. p1000 tip), add 200 μL of 5% Chelex (InstaGene matrix), premixed on magnetic stirrer.

4. Vortex tubes for 10 seconds, and incubate on heat block or boiling water bath at 100°C for 8 min.

6. Vortex tubes for 10 seconds, and centrifuge 2-3 minutes at 10,000 – 12,000 rpm.

7. Use 20 μL of supernatant per 50 μL PCR reaction. Store remainder at –20°C. Repeat step 6 when reusing remainder of stored supernatant.

Characterizing quality and quantity

- Transfer sample of supernatant: Carefully transfer the supernatant containing the DNA to a new clear tube without disturbing chelex beads from stock. Record sample information on tube and in records (see attachment).

- Quantify DNA: Measure the DNA concentration using a UV spectrophotometer, such as Nanodrop, following the manufacturer’s instructions and SOP VG005. Record data directly on tube or use QC reading attachment.

Refer to clean-up protocols or redo DNA extraction of sample if quality is poor (260/280 or 260/230 below 1.8 for NGS 1.6 for PCR).

# Figures and Diagrams

N/A

# Notes/Observations

# Attachments

- Accession-Sampling Sheet Template

- QC Reading Attachment