Master Mix Setup. Indicate how master mixes have been prepared.

|  | TaqMan Fast Advanced Master Mix (2×) | 20× Primer-Probe mix | Nuclease‑free water |
| --- | --- | --- | --- |
| Reaction ingredients per sample | __ µL | __ µL | __ µL |
|  | X 96 | X 96 | X 96 |
| Amount for 96 reactions | __ µL | __ µL | __ µL |
|  | __ µL total master mix aliquoted into each well depicted in Plate Setup |  |  |

Sample Information. Provide information on each sample, specifying N/A for unused/missing entries.

| Standards (Std) for 1:10 serial dilution curve | DNA Control Name: _______________ Highest concentration standard (Std1): __ ng/µL |
| --- | --- |
| Biological sample 1 (S1) | Name/ID: _______________ Concentration if known: __ ng/µL |
| Biological sample 2 (S2) | Name/ID: _______________ Concentration if known: __ ng/µL |
| Biological sample 3 (S3) | Name/ID: _______________ Concentration if known: __ ng/µL |
| Biological sample 4 (S4) | Name/ID: _______________ Concentration if known: __ ng/µL |
| Biological sample 5 (S5) | Name/ID: _______________ Concentration if known: __ ng/µL |
| Biological sample 6 (S6) | Name/ID: _______________ Concentration if known: __ ng/µL |
| Biological sample 7 (S7) | Name/ID: _______________ Concentration if known: __ ng/µL |
| Biological sample 8 (S8) | Name/ID: _______________ Concentration if known: __ ng/µL |

NTC = no-template molecular-grade water control; EB = extraction blank; R = replicate

Plate Setup: For each well of plate depicted, add __ µL of each sample according to Sample Information.

|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A | Std1 R1 | Std2 R1 | Std3 R1 | Std4 R1 | Std5 R1 | Std6 R1 | Std7 R1 | NTC R1 | NTC R2 | EB1 R1 | EB2 R2 |  |
| B | Std1 R2 | Std2 R2 | Std3 R2 | Std4 R2 | Std5 R2 | Std6 R2 | Std7 R2 | NTC R3 |  |  |  |  |
| C | Std1 R3 | Std2 R3 | Std3 R3 | Std4 R3 | Std5 R3 | Std6 R3 | Std7 R3 |  |  |  |  |  |
| D | S1 R1 | S1 R2 | S1 R3 | S2 R1 | S2 R2 | S2 R3 | S3 R1 | S3 R2 | S3 R3 | S4 R1 | S4 R2 | S4 R3 |
| E | S5 R1 | S5 R2 | S5 R3 | S6 R1 | S6 R2 | S6 R3 | S7 R1 | S7 R2 | S7 R3 | S8 R1 | S8 R2 | S8 R3 |
| F | S9 R1 | S9 R2 | S9 R3 | S10 R1 | S10 R2 | S10 R3 | S11 R1 | S11 R2 | S11 R3 | S12 R1 | S12 R2 | S12 R3 |
| G | S13 R1 | S13 R2 | S13 R3 | S14 R1 | S14 R2 | S14 R3 | S15 R1 | S15 R2 | S15 R3 | S16 R1 | S16 R2 | S16 R3 |
| H | S17 R1 | S17 R2 | S17 R3 | S18 R1 | S18 R2 | S18 R3 | S19 R1 | S19 R2 | S19 R3 | S20 R1 | S20 R2 | S20 R3 |

qPCR Thermocycler Setup. Specify name of program and thermocycler settings

File name: __________ Instrument: __________ Chemistry: __________ Volume: __ µL Cover: __ °C

Cycler conditions: __°C for _ min; __°C for _ min; __ cycles of __°C for _ sec and __°C for __ sec [image]