# Purpose

To prepare genomic DNA with minimal exposure from fungal isolates.

# Scope

To be done after inoculating and isolating non-filamentous/filamentous fungi on agar plates and in preparation of PCR and sequencing.

# Responsibilities

To be performed by credentialed/trained faculty along with students being supervised.

# Definitions

- Fungal mycelium: Vegetative part of fungus, consisting of network of filaments (hyphae).

- Chelex Solution: Used for aid in lysis. A 5% working stock may be substituted with Bio-Rad’s Instagene Matrix (#223-9378).

- UV Spectrophotometer (Nanodrop): An instrument that measures the absorbance of UV light by a sample, used to quantify the concentration of DNA in the supernatant.

- Personal Protective Equipment (PPE): Clothing and equipment worn to minimize exposure to hazards that can cause workplace injuries and illnesses, including lab coats, gloves and safety goggles.

# References and acknowledgements

InstaGene Matrix manual (732-6030)

Conlon, B. H., Schmidt, S., Poulsen, M., & Shik, J. Z. (2022). Orthogonal protocols for DNA extraction from filamentous fungi. STAR protocols, 3(1), 101126.

# Materials

| Material Description | Standard Quantity | Unit |
| --- | --- | --- |
| Fungal culture plate | 1 | plate |
| Biosafety cabinet | 1 | N/A |
| Small sterile 0.5 – 10 microliter pipette tip | 1 | N/A |
| Sterile distilled water (SDW) | 1 | bottle |
| UV spectrophotometer (e.g. Nanodrop) | 1 | N/A |
| Safe seal 1.5 mL tubes | 1 | 1.5 mL tube |
| Micro pipettes (p1000, p200, p50, p20) and compatible tips | N/A | N/A |
| Sorvall™ Legend™ Micro 21R Microcentrifuge | 1 | N/A |

# Safety

- Prior to lysis, all steps handling mycelium should be done in biological safety cabinet.

- Lab PPE including lab coat, gloves, and safety goggles should be worn at all times during work. Due to unknown identity of isolate in culture, wearing of mask is recommended in conjunction with use of biological safety cabinet prior to lysis step. Wear rubber gloves when handling samples being incubated at boiling temperature.

- Handle all biological materials and reagents according to relevant safety guidelines and protocols.

- Ensure proper disposal of all waste materials in accordance with institutional and environmental regulations.

- Wash hands before and after glove use.

- Disinfect gloves, work area, and instruments before and prior to use.

# Procedure

Harvesting (5 min)

1. Tare an empty 1.5 mL microcentrifuge tube.

2. Using sterile scalpel/pipette tip scrape approx. 10mg of mycelium from agar—size of penny or <2 cm2.

3. Place mycelium into the tube (labelled with sample ID, extraction date, and performer initials) and weigh the full tube to verify mass is close to 10mg (no more than 20mg). Add labeling info and measured weight to tube.

4. Store sample at –20°C at least 2-3 hours or proceed directly to extraction (option A or B).

Option A (25 min): InstaGene Extraction (No Proteinase K)

5. Place 5% Chelex solution or InstaGene on magnetic stirrer.

6. Homogenize tube with microcentrifuge pestle.

7. Add 200 μL of 5% Chelex.

8. Vortex tubes for 15 s.

9. Incubate on heat block or boiling water bath at 100°C for 15 min. Safety: Use rubber gloves when handling.

10. Centrifuge tubes at 13,000 rpm (16.3 g) for 3 min.

11. Transfer 100 μL of supernatant to a new tube.

12. Use 20 μL of supernatant per 50 μL PCR reaction. Store remainder at –20°C. Repeat step 9 when reusing remainder of stored supernatant.

Option B (40 min) InstaGene + Proteinase K Extraction

5. Place 5% Chelex solution or Instagene on magnetic stirrer.

6. Homogenize tube with microcentrifuge pestle.

7. Add 200 μL of 5% Chelex with 20 mg/mL of Proteinase K.

8. Vortex tubes for 15 s.

9. Incubate at 65°C for 30 min using appropriate PPE.

10. Centrifuge tubes at 3,300×g for 3 min.

11. Transfer 100 μL of supernatant to a new tube with sample information recorded (sample ID, date of extraction, performer) on tube and in records (see attachment).

12. Use 20 μL of supernatant per 50 μL PCR reaction. Store remainder at –20°C. Repeat step when reusing remainder of stored supernatant.

Characterizing quality and quantity

- Transfer sample of supernatant: Carefully transfer the supernatant containing the DNA to a new clear tube without disturbing Chelex beads from stock.

- Quantify DNA: Measure the DNA concentration using a UV spectrophotometer, such as Nanodrop, following the manufacturer’s instructions and SOP VG005. Record data directly on tube or use QC reading attachment.

- Refer to clean-up protocols or redo DNA extraction of sample if quality is poor (260/280 or 260/230 below 1.8 for NGS 1.6 for PCR).

# Figures and Diagrams

N/A

# Notes/Observations

# Attachments

- Accession-Sampling Sheet Template

- QC Reading Attachment