- Purpose/Description:

This record covers batch DNA extractions (for ___ samples) using the KingFisher Flex (adjust for number of samples)

- Responsibilities/Roles

| Name (Print) | Signature | Initials |
| --- | --- | --- |

References/Attachments

| Title | Doc # |
| --- | --- |
| MagMAX DNA Multi-Sample Ultra 2.0 Kit Protocol | Pub. No. MAN0017205 Rev. D.0 [Attached] |
| Sampling SOP | See portion attached |
| Nanodrop SOP | See copy in 3-ring binder |
| Qubit ds DNA Assay SOP | See copy in 3-4ing binder |

- Equipment/Components

| Equipment | Manufacturer-Model | Expiration/Calibration Due Date | Quantity Required or Used | Setup, pulled or verified by (Initials & Date) | Witness (Initials & Date) |
| --- | --- | --- | --- | --- | --- |
| MagMax Plant DNA Isolation Kit (prepped according to SOP VG004) | Cat. Nos. A32549, A32580, and A47156 |  |  |  |  |
| 1.5 mL tubes of 350 µL Lysis Buffer A with sample ID |  |  |  |  |  |
| Vortex |  |  |  |  |  |
| Incubator (preheat to 65°C) |  |  |  |  |  |
| 1.5 mL tube chill rack |  |  |  |  |  |
| DNA Extractor | KingFisher Flex |  |  |  |  |
| Micropipette sets and tips: P2, P20, P200, P1000, multichannel pipettors |  |  |  |  |  |
| Incubator set to 65 Celsius |  |  |  |  |  |
| Reservoir trays |  |  |  |  |  |
| 50 mL conical tubes |  |  |  |  |  |
| Deepwell plates |  |  |  |  |  |
| Standard PCR plates |  |  |  |  |  |
| Spectrophotometer | Nanodrop |  |  |  |  |
| Flurometer | Qubit |  |  |  |  |

- Performing Lysis/Manual Tissue Disruption (SOP VG004)

Record information for samples you are responsible for. For more than eight samples, record information in electronic batch record and/or lab notebook according to supervisor’s instructions.

| Accession number | Plate, well, or tube ID | Approximate mg of leaf tissue used: 10 – 100 mg of fresh leaf (two hole punches) or < 20mg dry leaf | Date of manual tissue disruption | Performed/pulled by (Initials/Date) | Witnessed by (Initials/date) |
| --- | --- | --- | --- | --- | --- |

Checklist. Performing lysis or manual tissue disruption steps (SOP VG004) on tissue samples and/or storing clarified lysates in freezer to use within seven days.

| Steps | Performed by (Initials/Date) | Witnessed by (Initials/date) |
| --- | --- | --- |
| Lysis buffer A (350 µL) to each 1.5 mL tube labelled with sample ID |  |  |
| For each sample, fold sampled leaf in half and punch a hole in each 1.5 mL microfuge tube using the cap (10 – 100 mg for fresh leaf tissue or 20 mg for dry leaf tissue). |  |  |
| Using a clean pestle for microfuge tubes, grind a sample in its tube for five minutes at room temperature. |  |  |
| Vortex 15 seconds and briefly spin down (1-2 seconds before reaching set speed) with tubes opposite each other. |  |  |
| Add lysis buffer B (50 µL) and RNase (50 µL). |  |  |
| Vortex to mix, incubate for 10 minutes in the 65°C heat block, water bath, or thermomixer while vortexing intermittently. |  |  |
| After incubating each tube, add precipitation buffer (130 µL). |  |  |
| Flip closed tubes upside down 2-3 times to mix. |  |  |
| Let tubes sit on ice or chill rack for 5 minutes. |  |  |
| Place pairs of tubes of equal volume opposite each other in centrifuge and spin down for five minutes at max speed (≥ 16,000 × g). |  |  |

- Plate/Solution Setup

| Solution | Lot # if needed | Expiry if needed | Quantity req (per well) | Quantity used (n samples + 0.2 * n samples) | Performer Initials/Date | Witness Initials/Date |
| --- | --- | --- | --- | --- | --- | --- |
| Wash I deepwell plate (position 2) | N/A | N/A | 800 uL |  |  |  |
| Deepwell Plates - positions 3 and 4: Wash II solution | N/A | N/A | 800 uL |  |  |  |
| Elution plate (position 5, standard plate) | N/A | N/A | 150 uL |  |  |  |
| Tip comb in deepwell (position 6) | N/A | N/A | N/A | N/A |  |  |
| Samples in deepwell plate | N/A | N/A | Plant lysate: 400 uL | N/A |  |  |
|  | N/A | N/A | DNA binding beads (vortex well): 25 uL + 96-100% Ethanol: 400 uL | Mix: Binding beads: _____ uL + 96-100% Ethanol _____ uL |  |  |

- Samples. Log ID abbreviation according to sampling records in table directly below or using plate temple further below.

| Sample ID and Plate Position | Amount of Lysate and Bead Mix added | Quantity Used Leaf Tissue (mg) | Performer Initials/Date | Witness Initials/Date |
| --- | --- | --- | --- | --- |
| Sample ID: ______ Well: ___ | Lysate: ___ uL Bead Mix: ___ uL |  |  |  |
| Sample ID: ______ Well: ___ | Lysate: ___ uL Bead Mix: ___ uL |  |  |  |
| Sample ID: ______ Well: ___ | Lysate: ___ uL Bead Mix: ___ uL |  |  |  |
| Sample ID: ______ Well: ___ | Lysate: ___ uL Bead Mix: ___ uL |  |  |  |
| Sample ID: ______ Well: ___ | Lysate: ___ uL Bead Mix: ___ uL |  |  |  |
| Sample ID: ______ Well: ___ | Lysate: ___ uL Bead Mix: ___ uL |  |  |  |

For many samples, record sample IDs and plate ID name (as should be written on side of plate):

Plate ID: ____________; Stored Location (Room ID, Freezer ID, Box ID): _____,________,___________

- Process

| # | Task | Performed Initial/Date | Verified Initial/Date |
| --- | --- | --- | --- |
| 1 | Ensure that the instrument is set up for processing with the proper magnetic head (96 deep-well) for your application. |  |  |
| 2 | Ensure that the proper heat block (96 well standard, not deep-well) is installed for your application. |  |  |
| 3 | Make sure solutions are prepared according to VG004 and Plate/Solution Setup |  |  |
| 4 | Transfer the lysates into the corresponding wells of new plate for addition of bead mix. |  |  |
| 6 | Setup all plates immediately on the Kingfisher Flex instrument. |  |  |
| 7 | Select the program “A32549_Plant_DNA_Flex 96DW” on the instrument. |  |  |
| 8 | Make sure plates are appropriately loaded into the instrument and start. |  |  |
| 9 | When the run is complete, wear appropriate PPE and remove the samples for storage (-20C) or immediate use/testing. |  |  |
| 10 | Perform Concentration and Purity Assays and record information in electronic batch records, provided data sheets, or lab notebook (see SOP VG001, VG005, VG010 and their respective attachments). |  |  |